## Slide 1: X- ray radiation
10-Aluminum filters of 1-2 mm thickness are used on the
window of the X ray tube head to filter out all the long
wave length X rays from the primary X ray beam.

## Slide 2: X- ray radiation
10-Use the fastest film screen system compatible
with obtaining diagnostic radiographs

## Slide 3: X- ray radiation
11-Use full strength developer and proper solution
temperature to insure that the processing
procedures allow for the use of minimum exposure

## Slide 4: X- ray radiation
12-Always wear film badges.

## Slide 5: X- ray radiation
13-Always plan your radiographic procedure
carefully to avoid unnecessary.